## Equipment Compatibility
Remote Processing Units and Data Loggers
| AC RSW 200 RPU | DC RSW 200 RPU | AC Lufft RPU | DC Lufft RPU | AC Linux/SSI | DC Linux/SSI | AC Campbell Scientific Data Logger | DC Campbell Scientific Data Logger
Atomospheric and Pavement Sensors
Pavement Sensors
Vaisala- FP2000 (In pavement, wired) |  |  |  |  | X | X
MH Corbin- VX-21-1 (In pavement wireless) |  |  | X | X | X | X
MH Corbin- VX-21-2 (In pavement wireless with subprobe) |  |  | X | X | X | X
Vaisala- DRS 511 (In pavement, wired) | X | X
Precipitation and Visablity Sensors
Vaisala- PWD 11 |  |  | X | X | X | X
Vaisala- PWD 12 |  |  |  | X | X | X
Lufft- WS R2-S Precipitation |  |  | X | X
?- OWI |  |  |  |  | X
?- Y/N Precipitation |  |  |  |  | X | X
Air Temperature and Relative Humitity
Lufft- WS 300 AT/RH |  |  | X | X
Vaisala- AT/RH HMP-50 |  |  |  |  | X | X
Vaisala- AT/RH HMP-155 | X | X |  |  | X | X
Theis- AT/RH |  |  |  |  | X
RM Young- AT/RH |  |  |  |  | X
Wind Speed and Direction
Vaisala- Wind S/D |  |  |  |  | X | X
Lufft- WS 200 Ultrasonic Wind |  |  | X | X
RM Young- Wind S/D | X | X |  |  | X | X
Communications
Cellular Modem, |  |  | X | X | X | X
Antenna | X | X | X | X | X | X
Radio Frequency (RF)
Cisco- Airnet
Power
115 Watt Solar Panel |  |  |  | X |  | X
Wind Turbine |  |  |  | X |  | X
Batteries |  |  |  | X |  | X
Solar Charger Controller |  |  |  | X |  | X
AC Power | X |  | X |  | X

## Arizona
LOCATION > | Route | MP | MU | Modem EX | Modem In | RPU | RPU | Sta Serial | Sta. Soft | DMU703 | DRI701 | DRI701-2 | PMU701 | DSC211 | DST111 | HMP155E | PWD12 | DTS12G | PTB110 | WMT700 | 41382VF | 5103 | SSI | SVS1 | 92 | Cam 1 | Cam 2 | Modem | Solar Panel | 12/24 vDc | Batteries | Retro/Build | Mast Lower | Dia top/bottom | Panel Mount | LOS | PMI | Notes | Remote Pole Insp.
Fort Rock | I-40 | 91.5 | 9524s | 166.149.104.144 | 192.168.2.1 | 192.168.2.2 | RWS200 | P1730344 | 3.1.5 | N4110002 | N4710009 = 1.2.9 | N/A | N4010022 | P027021 | R143048 | P1530235 | P1330155 | P18302 | P1210232 | P16440608 | [5 empty] | image-000522000-00-00 | image-000522000-01-00 | Digi | 4 x 100 watt | 24vDC | 2019-04-01 |  | Yes | 3.5"/3.5" | Done | 2020-03-01 | 2020-03-09 |  | 2020-04-02
Crookton | I-40 | 132.2 | 9525s | 166.144.48.114 | 192.168.2.1 | 192.168.2.2 | RWS200 | N2720538 | 3.1.5 | N0150003 | M4810009= 1.2.9 | N/A | M4650006 | P061001 | P066051 | N2541110 | N2310470 | S01506 | N2120031 | N2620142 | [7 empty] | Digi | 4 x 100 watt | 24vDC | 2019-04-01 | 2017-07-25 | Yes | 4.5"/4.5" | Done | 2020-04-02 | 2020-04-06 | see comments | 2020-04-06
Kaiser Bridge | US93 | 135 | 9524y | 166.161.187.64 | 192.168.2.1 | 192.168.2.2 | RWS200 | P1730559 | 3.1.5 | N3810026 | N4710016 = 1.2.9 | N/A | N4010019 | P061009 | P066009 | P1530231 | P1430344 | P18303 | P1520609 | P1640609 | [7 empty] | Digi | 4x100 watt | 24vDC | 2019-06-21 | 2018-10-19 | Yes | 6"/6.75" | Done | 2020-03-24 | 2020-03-24 |  | N/A
Ash Fork Hill | I-40 | 155 | 9527r | 166.164.54.160 | 192.168.2.1 | 192.168.2.2 | RWS200 | M3120965 | 3.1.5 | M0420026 | M24740015=1.2.9 | N/A | M0440002 | R472017 | R507007 | L4310394 | M3051015 | R24402 | M2640647 | M3010127 | [7 empty] | Digi | 4 x 100 watt | 24vDC | 2019-04-01 | Unknown | Yes | 3.5"/3.5" | Done | 2020-03-30 | 2020-04-01 |  | 2020-04-07
Pine Springs | I-40 | 159 | 9526r | 166.164.54.162 | 192.168.2.1 | 192.168.2.2 | RWS200 | M3120966 | 3.1.5 | M0340002 | M3030021=1.2.9 | N/A | M0440021 | P027022 | P066039 | R4640185 | M3051016 | YES | M2640644 | M3120863 | [7 empty] | Digi | 4 x 100 watt | 24vDC | 2019-04-02 |  | Yes |  | Done | 2020-04-01 | 2020-04-07 | Trim back trees | 2020-04-07
Riordan | I-40 | 190.7 | 9528r | 166.164.54.161 | 192.168.2.1 | 192.168.2.2 | RWS200 | M3120693 | 3.1.5 | M0430009 | M3020008 = 1.2.9 | N/A | M0440020 | N282021 | N071003 | M3140843 | M2740633 | N44501 | M2640648 | M3050207 | [5 empty] | image-000522004-00-00 | image-000522004-01-00 | Digi | N/A | 120v AC | N/A | Unknown | Yes | Comm. Power | N/A | 2020-03-03 | 2020-04-08 |  | 2020-04-08
Scenic View | I-17 | 312.6 |  | 63.42.42.197 | 192.168.2.1 | 192.168.2.2 | RWS200 | R1340395 | 3.1.5 | P4110007 | P4613166 | N/A | P4523001 | P421043 | P421039 | R4540433 | P3510855 | P45402 | R0210380 | R1140741 | [7 empty] | Digi |  | 24vDC |  |  | Yes |  | Not needed |  |  |  | 2020-04-08
Little Colorado River | I-40 | 257 | 9524v | 166.154.196.62 | 192.168.2.1 | 192.168.2.2 | RWS200 | S2540954 | 4.1.0 | S1510028 | S1013218 = 1.2.9 | N/A | S1933236 | R472024 | R507004 | S2440077 | S2610519 | S01508 | S2540682 | S2030164 | YES | YES | YES | YES | YES | I40 WB | I40 EB | Digi | 4 x 100 watt | 24VDC | 2019-04-02 | 2020-07-14 | Yes | 3.5"/3.5" | Done | 2020-03-26 | 2020-03-30 |  | 2020-03-30
Lupton | I-40 | 360 | 9526v | 166.161.176.216 | 192.168.0.100 | 192.168.0.1 | LXU | [6 empty] | Foundation Poured | Foundation Poured | [5 empty] | YES | YES | YES | YES | YES | I40 EB | I40WB | MP70 |  | 12vDC | 2019-04-04 |  | Yes | 5.5"/5.5" | Done | 2020-04-16 | 2020-04-20 | see comment | N/A
Clints Well | SR87 | 291.4 | 9524x | 166.144.48.116 | 192.168.2.1 | 192.168.2.2 | RWS200 | N2730654 | 3.1.6 | M5130001 | N0650003 = 1.2.9 | N/A | M4950008 | P027026 | P066053 | N2640196 | N2310469 | R24401 | N2351081 | N2720018 | [7 empty] | Digi | 4 x 100 watt | 24 vDC | 2017-12-12 | 2017-07-26 | Yes | 5.5"/5.5" |  | 2020-04-06 | 2020-04-12 |  | 2020-04-12
Two Guns | I-40 | 230 | 9529r | 166.144.48.115 | 192.168.2.1 | 192.168.2.2 | RWS200 | N2820524 | 3.1.1 | M5220007 | M4760020 = 1.2.9 | N/A | N0210033 | N071018 | N071027 | N2730663 | N2640194 | N37110 | N2720339 | N2810639 | [7 empty] | Digi | 4 x 100 watt | 24vDC | 2017-12-18 | 2017-07-26 | Yes | 6.5"/6.5" | Done | 2020-04-07 | 2020-04-14 |  | N/A
Heber | SR377 | 1 | 9225w | 166.144.48.117 | 192.168.2.1 | 192.168.2.2 | RWS200 | N2720542 | 3.1.5 | M5020002 | M4760016 = 1.2.9 | N/A | N0210047 | P027028 | P066031 | N2640197 | N2310472 | P18304 | N2720338 | N2720017 | [7 empty] | Digi | 4 x 100 watt | 24 vDC | 2017-11-22 | 2017-07-25 | Yes | 6.5"/6.5" | Done | 2020-03-31 | 2020-10-27 |  | 2020-05-11
Jackrabbitt | I-40 | 270 | 9524w | 166.154.196.62 | 192.168.2.1 | 192.168.2.2 | RWS200 | S2540498 | 4.1.0 | S1420030 | R4843110 = 1.2.9 | N/A | S1644031 | R513052 | R507006 | S2351061 | S2520629 | R22502 | S2320086 | S2530157 | YES | YES | YES | YES | YES | I40 WB | I40 EB | Digi | 4 x 100 watt | 24VDC | 2019-04-02 | 2020-07-08 | Yes | 6"/6.25" | Done | 2020-04-08 | 2020-04-16 |  | N/A
14 Mile Hill | SR77 | 375.5 | 9527v | 166.161.176.218 | 192.168.0.100 | 192.168.0.1 | LXU | [13 empty] | YES | YES | YES | YES | YES | SR77 SB | SR77 NB | MP70 | 4 x 100 watt | 12vDC | 2019-04-08 |  | Yes | 7.25"/7.25" | Done | 2020-04-14 | 2020-05-07 | see comments | N/A
Painted Desert | I-40 | 312 | 9525v | 166.161.176.215 | 192.168.2.1 | 192.168.2.2 | RWS200 | S2610257 | 4.1.0 | S1420008 | S1013204 = 1.4.5 | N/A | S1943204 | R513036 | R242048 | S2360007 | S2540501 | S01509 | S2540681 | S2430376 | YES | YES | YES | YES | YES | I40 WB | I40 EB | Digi | 4 x 100 watt | 24VDC | 2019-04-08 | 2020-07-16 | Yes | 6.5"/6.5" | Done | 2020-04-15 | 2020-04-21 |  | N/A
Window Rock | SR264 | 465.7 | 9524u | 166.149.104.147 | 192.168.0.100 | 192.168.0.1 | LXU | [13 empty] | YES | YES | YES | YES | YES | SR264 EB | SR264 WB | MP70 | 4 x 100 watt | 12vDC | 2019-04-04 |  | Yes | 5.5"/6.75" |  |  | 2020-10-19
Bowie | I-10 | 364.8 | 9524o | 166.161.176.219 | 192.168.2.1 | 192.168.2.2 | RWS200 | P1740328 | 3.1.1 | N3810016 | N4710002 = 1.2.9 |  | N4010001 | M464028 | M491028 | P1530233 | P1330149 | P09201 | P1720667 | P1550189 | [5 empty] | image-000522015-00-00 | Image-000522015-01-00 | Digi | N/A | 120v AC | N/A | 2018-08-22 | No | Comm. Power | N/A | 2020-04-13 | 2020-10-28 | See Comments
Olga | I-10 | 372.3 | 9526o | See Dust Sheet |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | [5 empty] | N/A | N/A | Radio to San Simon |  |  | 24vDC |  | N/A |  | N/A | 04/27.2020
San Simon | I-10 | 380.4 | 9525o | 166.161.176.221 | 192.168.2.1 | 192.168.2.2 | RWS200 | S2440434 | 4.1.0 | S1510007 |  | N/A | S1933246 | N/A | N/A | S2360004 | S2240670 | N/A | S2340057 | S2410653 | YES | YES | YES | YES | YES | I10 EB | I10 WB | Digi | N/A | 120v AC | N/A | 2020-07-06 | No | Comm. Power | N/A | 2020-04-20 | 2020-10-28
Sunrise Mtn | SR260 | 378 | 9526W | 166.161.176.235 | 195.168.2.1 | 192.168.2.2 | RWS200 |  | 3.1.5 |  | N4720016 |  |  | P027032 | P066016 | P3220359 | P3320816 | P33401 | P2720940 | P3310705 | [7 empty] | Digi | 4 x 150 watt | 24 vDC | 2019-05-28 | 2019-07-24 | Yes | N/A | N/A | 2020-10-19
Stoneman | I-17 | ?306?
Note on P12: Nicholas Disher: Installed and working 11/5/19
Note on Q12: Nicholas Disher: Installed and working 11/5/19
Note on T4: DTS12G is located just north of pullbox on shoulder of EB
Note on T15: Probe is located I40WB pullbox on other side of guard rail.

## California
C

## Colorado
Equipment | Manufacture | Currently Being Used
RPUs
RWS200 | Vaisala | X
LX RWS110 RPU | Vaisala | X
Pavement Sensors (In ground)
FP2000 (wired) | Vaisala | X
Pavement Sensor (Non-invasive
DSC111 | Vaisala | X
DSC211 | Vaisala | X
Precipitation and Visibility Sensors
RG13H | Vaisala
PWD22 | Vaisala | X
Air Temp./Relative Humidity Sensors
HMP155E | Vaisala | X
Wind Speed and Direction Sensor
WMT701 | Vaisala | X
5108-45-L | RM Young | X
Communications
DOT-owned Fiber network | CDOT | X
Antenna |  | X
Cisco Airnet | Cisco | X
Power Systems
115 Watt Solar Panel |  | X
Conventional Power |  | X
Polling System
OpenTMS ATMS | Q-Free | X
Weather Forcasting
Winter Operations | CDOT | X
RWIS Maintenance Provider
ITS | CDOT | X

## Iowa
Equipment | Manufacture | Currently Being Used |  | Comments on Equipment Compatibility
RPUs |  |  |  | We have had Lufft R2S precip sensors integrated into Vaisala LX RPUs.
DC LUFFT RPU | Lufft |  |  | We have integrated existing Vaisala FP2000 pavement sensors into new Lufft LCOM RPUs with the help of a Lufft-FP2000 converter module
AC Lufft RPU | Lufft | X
DC Linux/SSI RPU | Vaisala
AC Linux/SSI RPU | Vaisala | X
Campbell Scientific Data Loggers | Campbell Scientific
Pavement Sensors (In ground)
VX-21-1 Road Sensors (wireless) | MH Corbin
VX21-2 w/Subprobe (wireless) | MH Corbin
FP2000 (wired) | Vaisala | X
DRS-511 (wired | Vaisala
Lufft IRS | Lufft | x
Pavement Sensor (Non-invasive
Ice Sight | High Seirra | x
Lufft NIRS31-UMB | Lufft | x
Vaisala DSC | Vaisala | x
Vaisala DST | Vaisala | x
Bandpass Filter | Microwave Filter Co
Repeater System | MH Corbin
Precipitation and Visibility Sensors
Vaisala PWD-11 | Vaisala | X
Vaisala PWD 12 | Vaisala
Lufft WS R2-S Precip | Lufft | X
Lufft VS-20 Visibility | Lufft
OWI |  | X
Y/N Precip | Vaisala
Lufft WS100 | Lufft | x
Air Temp./Relative Humidity Sensors
Lufft WS 300 AT/RH | Lufft
Vaisala AT/RH HMP-50 | Vaisala | X
Vaisala AT/RH HMP-155 | Vaisala | X
Theis AT/RH | Theis | X
RM Young AT/RH | RM Young | X
Wind Speed and Direction Sensor
Vaisala Wind S/D | Vaisala | X
Lufft WS 200 Ultrasonic Wind | Lufft
RM Young Wind S/D | RM Young | X
Communications
Cellular Modem RV 50 | Seirra Wireless | X
Antenna |  | X
Cisco Airnet | Cisco
DOT-owned Fiber network |  | x
Power Systems
115 Watt Solar Panel
Conventional Power |  | X
Wind Turbine
Polling System
Total View | DTN | X
Weather Forcasting
Weather Sentry | DTN | X | For now. Will soon be switching to DTN ClearPath
RWIS Maintenance Provider
| Digital Traffic Systems | X

## Kansas
Remote Processing Units and Data Loggers
| AC RSW 200 RPU | DC RSW 200 RPU | AC Lufft RPU | DC Lufft RPU | AC Linux/SSI | DC Linux/SSI | AC Campbell Scientific Data Logger | DC Campbell Scientific Data Logger
Atomospheric and Pavement Sensors
Pavement Sensors
Vaisala- FP2000 (In pavement, wired) |  |  | X | X | X | X
MH Corbin- VX-21-1 (In pavement wireless)
MH Corbin- VX-21-2 (In pavement wireless with subprobe)
Vaisala- DRS 511 (In pavement, wired) | X
Precipitation and Visablity Sensors
Vaisala- PWD 11
Vaisala- PWD 12 | X
Lufft- WS R2-S Precipitation |  |  | X | X | X | X
?- OWI
?- Y/N Precipitation |  |  | X | X
Air Temperature and Relative Humitity
Lufft- WS 300 AT/RH |  |  | X | X
Vaisala- AT/RH HMP-50
Vaisala- AT/RH HMP-155 | X | X |  |  | X | X
Theis- AT/RH |  |  |  |  | X | X
RM Young- AT/RH |  |  |  |  | X | X
Wind Speed and Direction
Vaisala- Wind S/D | X | X |  |  | X | X
Lufft- WS 200 Ultrasonic Wind |  |  | X | X
RM Young- Wind S/D |  |  |  |  | X | X
Communications
Cellular Modem, | X |  | X | X | X | X
Antenna | X |  | X | X | X | X
Radio Frequency (RF)
Cisco- Airnet
Power
115 Watt Solar Panel |  | X |  | X
Wind Turbine
Batteries |  | X |  | X
Solar Charger Controller |  | X |  | X
AC Power | X |  | X
* Lufft - WS 600 AT/RH, Ultrasonic Wind, Precipication |  |  | * | *

## Maine
Equipment | Manufacture | Currently Being Used
RPUs
RWS200 | Vaisala | X
Campbell Scientific Data Loggers | Campbell Scientific | X
Pavement Sensors (In ground)
CS109 | Campbell Scientific | X
SoilVUE | Campbell Scientific | X
DRS511? | Vaisala | X
Pavement Sensor (Non-invasive
DSC211/DST211 and 111 | Vaisala | x
R-Condition | Boschung | x
SI-4HR temp sensor | Apogee | x
Lufft NIRS31-UMB | Lufft | x
Precipitation and Visibility Sensors
CS125 | Campbell Scientific | X
PWD12 | Vaisala | X
Air Temp./Relative Humidity Sensors
HygroVUE10 | Campbell Scientific | X
HMP155 | Vaisala | X
Wind Speed and Direction Sensor
WMT701 | Vaisala | X
5108-45-L | RM Young | x
Communications
GX450 | Seirra Wireless
WR21 | Digi | X
Bullet Plus | Microhard | X
Power Systems
310 W PERC Module Solar | JA Solar | X
Conventional Power |  | X
Polling System
Campbell Cloud | Campbell Scientific | X | Out to RFQ with forecasting, but will keep Navigator and Compass
Vaisala Navigator | Vaisala | X
New England Compass ATMS | Southwest Research | X
Weather Forcasting |  |  | Out to RFQ
WOOD | WOOD
RWIS Maintenance Provider
| Digital Traffic Systems | X
| Local Contractors | X
| In-House Electricians | X

## Missouri
M

## North Dakota
Equipment | Manufacture | Currently Being Used | Comments on Equipment Compatibility
RPUs
LUFFT RPU | Lufft | x
LX RWS110 RPU | Vaisala | x
Pavement Sensors (In ground)
FP2000 (wired) | Vaisala | X | We have integrated existing Vaisala FP2000 pavement sensors into new Lufft LCOM RPUs with the help of a Lufft-FP2000 converter module
Lufft IRS31 | Lufft | x
Pavement Sensor (Non-invasive
Ice Sight | High Seirra | x
Lufft NIRS31-UMB | Lufft | x
R- Condition | Boschung | x
Precipitation and Visibility Sensors
Vaisala PWD 12 | Vaisala | x
Lufft WS R2-S Precip | Lufft | x
Lufft WS100 | Lufft | x
Barometric Pressure
PTB110 Barometer | Vaisala | x
Lufft WS 301 | Lufft | x
Air Temp./Relative Humidity Sensors
Lufft WS 301 | Lufft | X
Vaisala AT/RH HMP-155 | Vaisala | x
Radiation
Lufft WS 301 | Lufft | x
LI 200SA | Li-COR | x
Wind Speed and Direction Sensor
WMT700 | Vaisala | x
Lufft WS 200 Ultrasonic Wind | Lufft | X
Communications
Cellular Modem RV 50 | Seirra Wireless | x
Cellular Modem RV 55 | Seirra Wireless | X
PMP 450i | cambium Networks | X
DOT-owned Fiber network | NDDOT | x
Power Systems
Conventional Power |  | X
Polling System
Parsons ATMS | Parsons | X
Weather Forcasting
Pooled Fund MDSS | DTN | X
RWIS Maintenance Provider
| NDDOT | X

## Ohio
Equipment | Manufacture | Currently Being Used
RPUs
DC LUFFT RPU | Lufft | X
AC Lufft RPU | Lufft | X
DC Linux/SSI RPU | Vaisala | X
AC Linux/SSI RPU | Vaisala | X
Campbell Scientific Data Loggers | Campbell Scientific | X
Pavement Sensors (In ground)
VX-21-1 Road Sensors (wireless) | MH Corbin | X
VX21-2 w/Subprobe (wireless) | MH Corbin | X
FP2000 (wired) | Vaisala | X
DRS-511 (wired | Vaisala
Pavement Sensor (Non-invasive
Ice Sight | High Seirra | x
Lufft NIRS31-UMB | Lufft | x
Bandpass Filter | Microwave Filter Co | X
Repeater System | MH Corbin | X
Precipitation and Visibility Sensors
Vaisala PWD-11 | Vaisala | X
Vaisala PWD 12 | Vaisala | X
Lufft WS R2-S Precip | Lufft | X
Lufft VS-20 Visibility | Lufft | X
OWI |  | X
Y/N Precip | Vaisala | X
Air Temp./Relative Humidity Sensors
Lufft WS 300 AT/RH | Lufft | X
Vaisala AT/RH HMP-50 | Vaisala | X
Vaisala AT/RH HMP-155 | Vaisala | X
Theis AT/RH | Theis | X
RM Young AT/RH | RM Young | X
Wind Speed and Direction Sensor
Vaisala Wind S/D | Vaisala | X
Lufft WS 200 Ultrasonic Wind | Lufft | X
RM Young Wind S/D | RM Young | X
Communications
Cellular Modem RV 50 | Seirra Wireless | X
Antenna |  | X
Cisco Airnet | Cisco | X
Power Systems
115 Watt Solar Panel |  | X
Conventional Power |  | X
Wind Turbine |  | X
Polling System
Total View | DTN | X
Weather Forcasting
Weather Sentry | DTN | X
RWIS Maintenance Provider
| Digital Traffic Systems | X

## Pennsylvania
EQUIPMENT(S) | Type | S/N
RPU INTERFACE FUNCTIONALITY
ENCLOSURE | BOX 652
COMMUNICATION INTERFACE | DMU703
FRAME/ CARD CAGE/ PMU | PMU701
SUPPLEMENTAL POWER SUPPLY | QUINT-PS1/1AC/24DC/10
ENTERNET HUB | DMU703
COMMUNICATION -EXTERNAL | DIGI WR21-U82B-DB1-SU
RWIS ATMOSPHERIC SENSORS
PRESSURE SENSOR | PTB110
AIR TEMP/ HUMIDITY | HMP155E WXT520
RADIATION SHIELD | DTR503
PERCIPITATION VISSIBILITY | PWD22
TIPPING BUCKET | RG-13
WIND SENSOR | WMT702 WMT700 WXT520
RWIS PAVEMENT SENSORS
Pavement SURFACE SENSORS | FP2000 DRS511AB1 DRS511AB2 DRS511 DRS511AB3 DRS511AB5
NON INVASIVE SENSORS | DST211 DSC2111 DTS12G DST111
RWIS CAMERAS
CAMERAS | MOBTIX M15
AXIS Q6042-E

## Utah
Equipment | Manufacturer | Currently Being Utilized Operationally
RPUs
Campbell Scientific Data Loggers | Campbell Scientific | X
Pavement Sensors (In ground)
None
Pavement Sensor (Non-invasive
Ice Sight | High Sierra | X
Surface Sentinel | High Sierra | X
Vaisala DSC | Vaisala | X
Vaisala DST | Vaisala | X
Precipitation and Visibility Sensors
CS125 | Campbell Scientific | X
DRD11A (Y/N Precip) | Vaisala
TE525 | Texas Instruments (provided by Campbell Scientific) | X
Air Temp./Relative Humidity Sensors
HygroVUE5 | Campbell Scientific
HygroVUE10 | Campbell Scientific | X
CS215 | Campbell Scientific | X
EE181 | E+E Elektronik (provided by Campbell Scientific) | X
HC2S3 | Rotronic (provided by Campbell Scientific) | X
Radiation
LI200X | LI-COR (provided by Campbell Scientific) | X
CS320 | Campbell Scientific | X
Wind Speed and Direction Sensor
05103 | RM Young (provided by Campbell Scientific) | X
05103-45 | RM Young (provided by Campbell Scientific) | X
05108 | RM Young (provided by Campbell Scientific) | X
05108-45 | RM Young (provided by The Narwhal Group) | X
Communications
Cellular Modem SN-6901 | Red Lion (provided by Tessco) | X
Cellular Modem SN-6921 | Red Lion (provided by Tessco) | X
Cellular Modem IX20 | Digi (provided by Tessco) | X
Cellular Modem CELL210 | Campbell Scientific | X
Radio RF407 | Campbell Scientific | X
Cell Antenna 301111 | Wilson (provided by Tessco) | X
Cell Antenna 311228 | Wilson (provided by Air Comm) | X
Radio Antenna BMOY8905 | PCTEL (provided by Tessco) | X
DOT-owned Fiber network |  | X
Power Systems
Multiple Size Solar Panels, Batteries, and Components | Various Vendors (provided by Steadfast Solar and Campbell Scientific) | X
Conventional AC Power |  | X
Polling System
Loggernet | Campbell Scientific | X
Weather Forecasting
| Weathernet | X
RWIS Maintenance Provider
| Weathernet | X
Other Items
Tower UT20 | Campbell Scientific | X
Tower UT30 | Campbell Scientific | X
Tower MF1330 | Glen Martin (provided by Vaisala - deprecated) | X
Tripods | Campbell Scientific | X
ClimaVUE50 | Campbell Scientific | X
Temperature Probe 107 | Campbell Scientific | X
Temperature Probe 108 | Campbell Scientific | X
Temperature Probe 109 | Campbell Scientific
Soil Moisture and Temperature CS655 | Campbell Scientific | X
Snow Depth SR50A | Campbell Scientific | X
Various Streaming Cameras |  | X

## Wisconsin
Wi